## Sheet1
METAL/ANION → |  |  | Al | As* | B | Ca | Chloride | Cd* | Co | Cu* | Fe | Hg* | K | Mg | Mn | Na | Ni* | Nitrates | P (TP) | Pb* | Sulphate | Zn* | Alkalinity | Chl-a | Coliform | DO | pH | Secchi | TDS | TSS | PFOS | Temp | GPS Location
|  |  | ug/L | ug/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | ng/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | µg/L | cfu | mg/L | pH | feet | mg/L | mg/L | ng/L | °F | DMS
Ideal |  |  | <200 | <340 | < 0.5 | < 15 | <120 | < 0.72 | <1.8 | < 1.3 | < 1.0 | < 144 | < 164 | < 1,000 | <0.30 | < 250 | < 52 | < 10 | < 30.5 | <0.065 | <500 gen | < 0.12 | > 5 | < 20 | 0 | > 5.5 | 6.5 - 8.5 | varies | < 500 | < 1,200 | ≤ 4
|  |  |  | <10 drink |  |  |  |  | drink | [7 empty] | continous | drink |  | <0.015 drink | < 250 drink |  | (20-200 typical) | >10 bloom | drink | fish |  |  |  | drink | drink
LOCATION | Date | Collector | [18 empty] | < 10 rice | [11 empty] | Latitude (E/W)
1°= 69 miles
Lake-wide | 1943 | DNR | [16 empty] | 48 | [13 empty] | 1' = 1.15 miles
1" = 101feet
Lake-wide | 1976-1993 | EPA/MPCA | [16 empty] | 38 |  |  |  |  | 6.7
Longitude (N/S)
Lake-wide | 1984-2000 | DNR | [16 empty] | 30 |  |  |  |  | 13 | [8 empty] | 1°= 54.6 miles
1' = 0.91 miles
Lake-wide, via Lake Assessment Program | summer 2000 | MPCA | [16 empty] | 24 |  |  |  |  | 6.9 | [8 empty] | 1" = 80 feet
Pike Bay, sw Hoodoo Pt | 8.18.1983 | MPCA | [15 empty] | <0.01 | 50 |  |  |  |  | 16 |  | 7.5 | 7.3 | 2.1
Pike Bay, sw Hoodoo Pt | 8.17.1993 | MPCA | [16 empty] | 59 |  |  |  |  | 2.6 |  |  | 7.36 | 1.3
Pike Bay | summer 2000 | MPCA |  |  |  |  | 8.5 | [11 empty] | 29 |  | 15.2 |  | 35 | 9.5 |  |  | 7.5 | 3.2 |  | 5.6
Big Bay | [6 empty] | 7.3 | [11 empty] | 22 |  | 16 |  | 37 | 5.3 |  |  | 7.5 | 7.8 |  | 2.4
Wakemup Bay | [6 empty] | 3 | [11 empty] | 23 |  | <5.0 |  | 27 | 8.1 |  |  | 7.5 | 9.5 |  | 3.1
Lake Outlet (Vermilion River Dam?) | [6 empty] | 5.4 | [11 empty] | 234 |  | 10.6 |  | 31 | 4.6 |  |  | 7.3 |  |  | 2.5
Lake -Wide average | [6 empty] | 6 | [11 empty] | 27 |  | 11.7 |  | 32 | 6.3 |  |  | 7.5 | 8.2 |  | 3.4
Big Bay, near Spider Island | 2008 | CLMP+ | [16 empty] | 20 |  | 14.8 |  | 33 | 6.8 |  |  | 7.2 | 6.6 |  | 3
Trout Lake portage | [20 empty] | 9.6
Frazer Bay, near 36 island | [20 empty] | 12.7
Niles Bay, near Zups point | [20 empty] | 12.5
Pike Bay | [6 empty] | 8.8 | [11 empty] | 28 |  | 10.6 |  | 21 | 3.2 |  |  | 6.8 | 1.1 |  | 3.1
Wakemup Bay, near Comet island | [20 empty] | 6.8
Head of the Lakes Bay | 6.24.2011 | VLA? |  |  |  | 6.9
Wakemup Bay | [5 empty] | 7
Niles Bay | [5 empty] | 9.9
Frazer Bay | [5 empty] | 10.8
Trout Lake portage | [5 empty] | 10.1
Big Bay | [5 empty] | 12.9
Armstrong Bay | [5 empty] | 12.4
Pike Bay | [5 empty] | 11.1
Sandy River | 5.30.2014 | VLA |  |  |  | 20 | [14 empty] | 3.2 - 58.9
Pike River | [5 empty] | 9.1
Armstrong Creek | [5 empty] | 16.1
Mud Creek Rd | [5 empty] | 15.5
East Two Rivers/Tower Harbor | 3.27.2015 | VLA |  |  |  | 28
East Two Rivers/Marina | [5 empty] | 34.8
East Two Rivers/Marina | Spring, 2015 | VLA |  |  |  | 29
Big Bay, between Spider & Stonich | Summer 2015 | ? | [15 empty] | < 0.05 | 12 |  | 10.45 ave |  |  | 9.52 |  | 0.59 ? |  |  |  | 1.2
Big Bay, between Spider & Stonich | 5.08 - 9.15 | ? | [18 empty] | 13.21 ave
Pike Bay, sw Hoodoo Pt | 7.7.2015 | MPCA | [16 empty] | 23 | [6 empty] | 7.57 | 8.02 | 4
Wakemup Bay | Aug, 2015 | DNR |  |  |  | 7.5
Niles Bay | [5 empty] | 10.2
Frazer Bay | [5 empty] | 11.5
Trout Lake portage | [5 empty] | 10.1
Big Bay, sw Sider Island | [5 empty] | 12.6
Pike Bay |  | VLA? |  |  |  | 10.7
Tower WWTP | [5 empty] | 50.3
Soudan mine | [5 empty] | 93.5 | [20 empty] | 8
East Two Rivers | [5 empty] | 29.3
Eagles Nest & origin of East Two Rivers | [5 empty] | 21.3 | [20 empty] | 8.1
Eagles Nest Lake #2 | 11.9.2015 | NRRI? |  |  |  | 24.4
Eagles Nest Lake #3 | [5 empty] | 18.9
Eagles Nest Lake #4 | [5 empty] | 17.3
Armstrong Lake | [5 empty] | 17.8
Clear Lake | [5 empty] | 7.9
Robinson Lake | [5 empty] | 17.7
East Two Rivers/Tower harbor | [5 empty] | 19.4 | [20 empty] | 7.6
Tower WWTP | 4.15-10.6 2016 | NRRI |  |  |  | 47.3
Armstrong Bay | 8.7.2016 | VLA ? |  |  |  | 13.3 | [20 empty] | 7.8
Mud Creek Bay | [5 empty] | 13 | [20 empty] | 7.7
East Two Rivers/Tower harbor | 8-10.2016 | NRRI |  |  |  | 27.5 ave
Hoodoo Pt | [5 empty] | 13.8
West Two Rivers | [5 empty] | 19
Head of the Lakes Bay | 8.19.2016 | 1854 | [23 empty] | 7.08 | [5 empty] | 72.1°
DO at 5 meters/~15 feet depth |  | DNR
Breitung monument culvert | 9.12.2016 | VLA? |  |  |  | 112.2 | [19 empty] | 7.25
East Two Rivers/Tower harbor | 7.31.2017 | VLA ? |  |  |  | 26.9
Head of the Lakes Bay | 2018-2020 | 1854
Temp at 5 meters depth, July ave. |  | DNR | [29 empty] | 71°
Cable Bay, east end | 9.15.2018 | VLA |  |  |  | 11 | [20 empty] | 7.8
East Two Rivers, Iron Ore bar bridge | [5 empty] | 28.5 | [20 empty] | 7.5
Pike River, above dam | [5 empty] | 15.9 | [20 empty] | 8
Pike River, below dam, under bridge | [5 empty] | 15 | [20 empty] | 7.9
Pike River, entering Pike Bay | [5 empty] | 15.9 | [20 empty] | 7.9
Stuntz Bay, north end | [5 empty] | 11.5 | [20 empty] | 7.7
Stuntz Bay, south end | [5 empty] | 11.1 | [20 empty] | 7.7
Trout River, as it empties into Vermilion | [5 empty] | 4.9 | [20 empty] | 7.4
West Two Rivers, south side of bridge | [5 empty] | 10.8 | [20 empty] | 7.1
Pike Bay, near Hoodoo | 7.1.2019 | MPCA | [16 empty] | 23 |  | 10.9 ave |  |  |  |  | 8.63 |  | 5
marked sunken island
Pike Bay, east of Whiskey Island | 6.7.2019 | MPCA | [16 empty] | 26 |  | 10.9 ave |  |  |  |  | 7.26
Big Bay, nnw of Storich & sw of Spider | 6.7.2019 | MPCA | [16 empty] | 17 |  | 9.5 ave |  |  | 3.6 |  |  |  | 7.5
Wakemup Bay, ese Center island | 6.7.2019 | MPCA | [18 empty] | 3.85 ave
Big Bay, west Birch Is/east Potato Is | end July,2020 | VLA | [24 empty] | 6.8 | 5 |  |  |  | 79°? | 47.51.301N, 92.17.219W
water temp at surface | end July,2021 | [26 empty] | 6 |  |  |  | 74° | 47.50.922N, 92.17.606W
| end July,2022 | [26 empty] | 6 |  |  |  |  | 47.51.061N, 92.17.551W
| end July,2023 | [26 empty] | 5.5 |  |  |  | 73° | 47.51.070N, 92.17.641W
Big Bay, Spider Island,sw edge,WQ1 | 8.3.2020 | DNR |  |  |  | 11.6 | [7 empty] | 5.68 |  |  |  |  | 23 |  | 12.1 |  | 43 | 11.7 |  |  | 7.45 | 7 | 100 |  |  |  | 47.52.0044N, 92.17.2649W
Trout Lake portage, sw side, WQ2 | [5 empty] | 9.61 | [7 empty] | 4.33 |  |  |  |  | 20 |  | 7.9 |  | 35 | 13.1 |  |  | 7.39 | 6 | 82 |  |  |  | 47.54.3737N, 92.19.5235W
Frazer Bay, nw of Breezy Pt, WQ3 | [5 empty] | 10.4 | [7 empty] | 4.75 |  |  |  |  | 20 |  | 9.2 |  | 38 | 11.9 |  |  | 7.69 | 7 | 104 |  |  |  | 47.52.4282N, 92.27.2309W
Niles Bay, mid-bay, WQ4 | [5 empty] | 9.01 | [7 empty] | 4.01 |  |  |  |  | 40 |  | 7.2 |  | 35 | 19.6 |  |  | 7.77 | 6 | 76 |  |  |  | 47.55.0162N, 92.30.0763W
Wakemup Bay, nw Center Island,WQ5 | [18 empty] | 27 |  | 4.6 |  | 26 | 22.4 |  |  |  | 5 | 68 |  |  |  | 47.55.2726N, 92.36.2038W
East Two Rivers, Tower harbor, southside dock | 9.25.2020 | VLA |  |  |  | 49.2 | [20 empty] | 7.7
East Two Rivers, Iron Ore bar bridge, west | [5 empty] | 49.5 | [20 empty] | 7.7
East Two Rivers, snowmobile bridge south of Mesabi trail | [5 empty] | 46.2 | [20 empty] | 7.7
Pike River, east Hwy 169 & Wahsten bridge | 9.29.2020 | MPCA | [23 empty] | 7.37 | 7.62
Pike Bay, sw Hoodoo Pt | 10.8.2020 | MPCA | [25 empty] | 5
East Two Rivers, Tower harbor, southside dock | 10.19.2020 | VLA |  |  |  | 32.8 | [20 empty] | 7.24 |  |  |  |  | 42°
East Two Rivers, Iron Ore bar bridge, west side | [5 empty] | 31.7 | [20 empty] | 7.24 |  |  |  |  | 41°
East Two Rivers, snowmobile bridge south of Mesabi trail | [5 empty] | 31.9 | [20 empty] | 7.34 |  |  |  |  | 39°
East Two Rivers, snowmobile bridge Mesabi Tr/Junction Rd | [5 empty] | 31.2 | [20 empty] | 7.35 |  |  |  |  | 46°
Breitung monument culvert,draining Soudan mine & local storm run-off | [5 empty] | 127 | [20 empty] | 7.31 |  |  |  |  | 46°
Tower waste water pond #3 | [5 empty] | 57.9 | [20 empty] | 8.34 |  |  |  |  | 43°
(dry, but snowing) | [31 empty] | 42°
East Two Rivers, Tower harbor, southside dock | 4.12.20.21 | VLA |  |  |  | 13.7 | [20 empty] | 6.98 |  |  |  |  | 46°
East Two Rivers, snowmobile bridge south of Mesabi trail | [5 empty] | 13.2 | [20 empty] | 7.06 |  |  |  |  | 46°
East Two Rivers, snowmobile bridge Mesabi Tr/Junction Rd | [5 empty] | 13.5 | [20 empty] | 7.23 |  |  |  |  | 47°
Breitung monument culvert,draining Soudan mine & local storm run-off | [5 empty] | 23.6 | [20 empty] | 8.17 |  |  |  |  | 45°
Tower waste water pond #3 | [5 empty] | 55.2 | [20 empty] | 7.62 |  |  |  |  | 48°
(after sevral days rain & melting snow)
East Two Rivers, Tower harbor, southside dock | 6.18.2021 | VLA |  |  |  | 39.1 | [20 empty] | 7.9 |  |  |  |  | 72.5°
East Two Rivers, snowmobile bridge south of Mesabi trail | [5 empty] | 42.9 | [20 empty] | 8 |  |  |  |  | 78.8°
East Two Rivers, snowmobile bridge Mesabi Tr/Junction Rd | [5 empty] | 37.3 | [20 empty] | 7.7 |  |  |  |  | 74.6°
Breitung monument culvert,draining Soudan mine & local storm run-off | [5 empty] | 242 | [20 empty] | 7.8 |  |  |  |  | 64.9°
Tower waste water pond #3 | [5 empty] | 57.8 | [20 empty] | 8.2 |  |  |  |  | 76.1°
Pike River, entrance to Pike Bay | [5 empty] | 18.7 | [20 empty] | 7.9 |  |  |  |  | 63.1°
East Two Rivers, Tower harbor, by culvert | 8.4.2021 | VLA |  |  |  | 38.2 | [6 empty] | 0.88 | 4.68 | 0.54 | 11.6 | [10 empty] | ? |  |  |  |  | 78°
East Two Rivers, Your Boat Club dock | [5 empty] | 35.5 | [20 empty] | 6.8 |  |  |  |  | 71°
East Two Rivers, midway betweenYBC & Pike Bay ent | [5 empty] | 22.7 | [20 empty] | 7 |  |  |  |  | 78°
East Two Rivers, at Pike Bay entrance | [5 empty] | 16.9 | [20 empty] | 6.9 |  |  |  |  | 69°
Big Bay, between Potato & Birch islands | [5 empty] | 11.4 | [6 empty] | 1.36 | 5.48 | 0.041 | 4.73
Wakemup Bay, Camp Vermilion dock | [5 empty] | 6.6 | [6 empty] | 0.93 | 2.64 | 0.037 | 2.83
(drought conditions)
Soudan Mine, required by MPCA | 1999 | Mine | 3680 | [5 empty] | 0.0097 | 0.308 | 2.1 |  |  |  | 0.3 | [11 empty] | 7.73 |  |  | 9.3 |  |  | 47.81.09N, 92.73.67W | ?
(high values) | 2021 |  | 8 | [5 empty] | 0.00094 | 9.5e-05 | 0.019 |  |  |  | 0.00033 | [11 empty] | 7.5 |  |  | <1
| 2022 |  | 34 |  |  | 124 | (9.4.22) |  | 0.000291 | 0.00089 | 0.043 |  |  |  | 0.00064 | [11 empty] | 7.4 |  |  | 9.8
| 2023 |  | 1580 | [5 empty] | 0.00015 | 0.0063 | 1.64 | [15 empty] | 7.4 |  |  | 6.9
thru Sept | 2024 |  | 11 | [5 empty] | 0.00014 | 0.00068 | 0.014 |  |  |  | 0.00021 | [11 empty] | 7.4 |  |  | <1
Big Bay, near Spider Island | 8.10.21 | DNR |  |  |  | 12.4 | [7 empty] | 6.08 | [6 empty] | 11.3 |  | 42 | 19.9 |  |  | 8 |  | 132
Trout Lake portage |  | (Sta. 1-5) |  |  |  | 10.8 | [7 empty] | 4.94 | [6 empty] | 9.14 |  | 37 | 12.7 |  |  | 8.25 |  | 90
Frazer Bay, near 36 island | [5 empty] | 11.3 | [7 empty] | 5.14 | [6 empty] | 9.46 |  | 38 | 15.6 |  |  | 8.14 |  | 88
Niles Bay, near Zups point | [5 empty] | 9.65 | [7 empty] | 4.26 | [6 empty] | 7.45 |  | 33 | 17.6 |  |  | 7.83 |  | 76
Wakemup Bay, near Comet island | [5 empty] | 6.85 | [7 empty] | 2.78 | [6 empty] | 4.93 |  | 24 | 13.4 |  |  | 7.64 |  | 56
Lake Riley, Eden Prairie/Chanhassen | 8.9.2021 to | MPCA | [23 empty] | 0.62 | 7.1 - 8.03 | 4.9 | 391
for reference - one of worst AIS | 10.25.2021 | [5 empty] | 102 - 110
lakes in Twin Cities | 7.24.2024 | VLA | <50.0 |  |  | 36.5 | [7 empty] | 14.1 | 0.04 |  |  |  | 23 |  | 6.8 | [5 empty] | 6.8 | [5 empty] | 44.50.03N 93.30.45W
E2 Rivers, east Tower harbor by culverts | 10.25.2021 | VLA |  |  |  | 43.4 |  |  |  |  | 0.705 | < 2.0 | 0.882 | 5.6 | 0.264 | 9.39 |  |  | <20 | < 1.0 | 13.8 | [5 empty] | 6.6
E2 Rivers by YourBoatClub (YBC) dock | [5 empty] | 41.7 | 30.9 |  |  |  | 0.662 | < 2.0 | 1.15 | 5.31 | 0.302 | 8.8 |  |  | <20 | < 1.0 | 12.9 | [5 empty] | 6.7
Breitung Monument culvert | [5 empty] | 369 | 27.3 |  |  |  | 1.33 | < 2.0 | 8.81 | 63.5 | 0.453 | 191 |  |  | <20 | < 1.0 | 121 | [5 empty] | 7.1
Pike River dam, under Hwy 77 bridge | [5 empty] | 18.4 | 890 |  |  |  | 0.616 | < 2.0 | 2.52 | 17.1 | 0.276 | 8.81 |  |  | <20 | < 1.0 | 44.8 | [5 empty] | 6.8
(water level up 8" from drought) | [6 empty] | 18.5
Breitung monument culvert,draining Soudan mine & local storm run-off | 5.11.2022 | VLA |  |  |  | 61.7 |  |  |  | 0.43 |  |  |  |  | 0.14 | [11 empty] | 8.9 | [5 empty] | 47.48.49N, 92.14.26W
E2 River, Mesabi Tr west of Junction Rd |  | water level 1359.66" |  |  |  | 14.7 |  |  |  | <0.01 |  |  |  |  | 0.04 | [11 empty] | 8.1
E2 River, Tower harbor |  | (5.23.22) |  |  |  | 15.7 |  |  |  | <0.01 |  |  |  |  | 0.05 | [11 empty] | 7.7 | [5 empty] | 47.48.14 N, 92.16.52W
E2 River, YBC dock | [5 empty] | 14.8 |  |  |  | <0.01 |  |  |  |  | 0.05 | [11 empty] | 7.7 | [5 empty] | 47.48.19 N, 92.17.18W
Pike River dam, under Hwy 77 bridge | [5 empty] | 6.5 | 5.3 |  |  | <0.01 |  |  |  |  | 0.05 | [5 empty] | 13.4 | [11 empty] | 47.47.30N, 92.22.06W
Big Bay, near Spider Island, WQ1 | 6.14.2022 | DNR |  |  |  | 11.6 | [7 empty] | 5.69 |  |  |  |  | 26 |  | 12.7 |  | 36 | 6.69 |  |  | 7.65 |  | 112 |  |  |  | 47.52.0044N, 92.17.2649W
Trout Lake portage, WQ2 |  | (Sta. 1-5) |  |  |  | 8.43 | [7 empty] | 3.72 |  |  |  |  | 22 |  | 8 |  | 28 | 18.6 |  |  | 7.58 |  | 108 |  |  |  | 47.54.3737N, 92.19.5235W
Frazer Bay, near 36 island, WQ3 | [5 empty] | 10.5 | [7 empty] | 4.86 |  |  |  |  | 29 |  | 10 |  | 34 | 8.61 |  |  | 7.68 |  | 112 |  |  |  | 47.52.4282N, 92.27.2309W
Niles Bay, near Zups point, WQ4 | [5 empty] | 9.81 | [7 empty] | 4.39 |  |  |  |  | 41 |  | 8.5 |  | 33 | 20.8 |  |  | 8.22 |  | 112 |  |  |  | 47.55.0162N, 92.30.0763W
Wakemup Bay, near Comet island, WQ5 | [5 empty] | 6.5 | [7 empty] | 2.29 |  |  |  |  | 32 |  | 6.6 |  | 24 | 19.3 |  |  | 7.73 |  | 64 |  |  |  | 47.55.2726N, 92.36.2038W
Tower waste water pond #3 | 6.29.2022 | VLA | 50 | < 2.0 | 0.115 | 58.8 | 87.8 | <0.0001 | < 0.50 | <0.0050 | 0.319 | 1.03 | 6.13 | 8.44 | 0.208 | 53.6 | < 5.0 | 0.26 | 1530 | <0.0005 | 9.9 | <0.0200 | 167 | NA |  |  | 7.6 | x | 344 | < 2.0 |  |  | 47.48.50N, 92.15.25W
Breitung monument culvert,draining Soudan mine & local storm run-off |  | water level | 599 | < 2.0 | <0.100 | 159 | 368 | <0.0001 | 15.6 | 0.466 | 1.64 | 57.2 | 5.52 | 31.7 | 0.284 | 72.4 | 36.6 | 0.65 | 12 | 0.000917 | 94.8 | 0.0433 | 74 | NA |  |  | 7.6 | NA | 1110 | 12.2 |  |  | 47.48.49N, 92.14.26W
E2 River, Mesabi Tr west of Junction Rd |  | 1358.35' | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |  |  | x
E2 River, Tower Harbor |  |  | 50 | < 2.0 | <0.100 | 24.8 | 7.38 | <0.0001 | < 0.50 | <0.0050 | 0.541 | 1.17 | <0.50 | 2.82 | 0.11 | 4.34 | < 5.0 | < 0.03 | 214 | <0.0005 | 1.9 | <0.0200 | 81 | < 1.67 |  |  | 7.5 | 7.5 | 118 | < 1.4 |  |  | 47.48.14 N, 92.16.52W
E2 River, YBC dock |  |  | 50 | < 2.0 | <0.100 | 24.5 | 7.67 | <0.0001 | < 0.50 | <0.0050 | 0.565 | 0.99 | <0.50 | 2.79 | 0.137 | 4 | < 5.0 | < 0.03 | 29 | <0.0005 | 1.9 | <0.0200 | 10 | < 1.25 |  |  | 7.4 | B | 120 | < 1.4 |  |  | 47.48.19 N, 92.17.18W
E2 River, entrance to Pike Bay |  |  | 82 | < 2.0 | <0.100 | 23.2 | 8.35 | <0.0001 | < 0.50 | <0.0050 | 0.727 | 1.67 | <0.50 | 3.49 | 0.139 | 4.61 | < 5.0 | < 0.03 | 33 | <0.0005 | 3.2 | <0.0200 | 68 | 6.01 |  |  | 6.6 | 4.5 | 108 | 2.6 |  |  | 47.48.28 N, 92.17.42W
W2 River, near Hwy 169 bridge |  |  | 103 | < 2.0 | <0.100 | 19.8 | 6.74 | <0.0001 | < 0.50 | <0.0050 | 1.9 | 3.71 | 3.21 | 2.05 | 0.133 | 3.21 | < 5.0 | 0.04 | 35 | <0.0005 | 3 | <0.0200 | 56 | NA |  |  | 6.4 | NA | 132 | 2.2 |  |  | 47.47.30 N, 92.22.05W
Pike River, below dam under Hwy 77 bridge |  |  | 182 | < 2.0 | <0.100 | 15.3 | 16 | <0.0001 | 0.7 | <0.0050 | 3.25 | 5.19 | 2.03 | 14.9 | 0.36 | 9.8 | < 5.0 | 0.08 | 47 | <0.0005 | 18.9 | <0.0200 | 74 | NA |  |  | 7.5 | NA | 210 | 2.8 |  |  | 47.47.30N, 92.22.06W
Stuntz Bay |  |  | < 50 | < 2.0 | <0.100 | 11.2 | 8.85 | <0.0001 | < 0.50 | <0.0050 | 0.138 | 1.42 | 1.15 | 5.26 | 0.0418 | 5.35 | < 5.0 | < 0.03 | 23 | <0.0005 | 13.3 | <0.0200 | 43 | 10.7 |  |  | 7.5 | 5 | 96 | 2.8 |  |  | 47.49.51N, 92.14.32W
Cable Bay |  |  | < 50 | < 2.0 | <0.100 | 12.7 | 8.89 | <0.0001 | < 0.50 | <0.0050 | 0.134 | 1.37 | 1.25 | 5.81 | 0.0276 | 5.76 | < 5.0 | < 0.03 | 27 | <0.0005 | 13.5 | <0.0200 | 43 | 7.68 |  |  | 7.4 | 6 | 98 | 1.9 |  |  | 47.50.45N, 92.12.03W
Big Bay, near Spider Island "hole" |  |  | < 50 | < 2.0 | <0.100 | 9.52 | 8.87 | <0.0001 | < 0.50 | <0.0050 | <0.100 | 1.23 | 1.25 | 4.08 | 0.013 | 5.76 | < 5.0 | < 0.03 | 27 | <0.0005 | 13.5 | <0.0200 | 37 | 6.687 |  |  | 7.4 | 7.5 | 94 | < 1.4 |  |  | 47.52.00N, 92.17.28W
Trout River, as it empties into Ver. |  |  | < 50 | < 2.0 | <0.100 | 3.85 | 3.85 | <0.0001 | < 0.50 | <0.0050 | <0.100 | 1.06 | 0.819 | 2.99 | <0.010 | 3.22 | < 5.0 | < 0.03 | 13 | <0.0005 | 6.4 | <0.0200 | 31 | 7.34 |  |  | 6.8 | 13 | 50 | < 2.0 |  |  | 47.54.51N, 92.19.34W
Frazer Bay, nw Breezy Pt |  |  | < 50 | < 2.0 | <0.100 | 9.7 | 7.54 | <0.0001 | < 0.50 | <0.0050 | <0.100 | 0.74 | 0.98 | 3.1 | <0.010 | 3.29 | < 5.0 | < 0.03 | 15 | <0.0005 | 10.8 | <0.0200 | 56 | 8.01 |  |  | 7.6 | 9 | 82 | < 2.0 |  |  | ? N, 92.27.24W
Niles Bay, mid bay |  |  | < 50 | < 2.0 | <0.100 | 11.5 | 6.91 | <0.0001 | < 0.50 | <0.0050 | <0.100 | 0.66 | 0.99 | 5.41 | 0.0106 | 4.39 | < 5.0 | < 0.03 | 15 | <0.0005 | 8.5 | <0.0200 | 43 | 7.48 |  |  | 7.4 | 8.5 | 66 | < 2.0 |  |  | 47.53.32N, 92.30.32W
Wakemup Bay, nw of Center Island |  |  | < 50 | < 2.0 | <0.100 | 6.5 | 4.53 | <0.0001 | < 0.50 | <0.0050 | <0.100 | 0.63 | 0.91 | 2.59 | <0.010 | 3.3 | < 5.0 | < 0.03 | 14 | <0.0005 | 4 | <0.0200 | 31 | 3.34 |  |  | 6.8 | 12 | 50 | < 1.4 |  |  | 47.55.23N, 92.36.49W
Black Bay, mid bay |  |  | 234 | < 2.0 | <0.100 | 3.47 | 2.34 | <0.0001 | < 0.50 | <0.0050 | 0.765 | 4.48 | 0.845 | 1.27 | 0.0447 | 2.2 | < 5.0 | < 0.03 | 82 | <0.0005 | 1.4 | <0.0200 | 25 | 6.94 |  |  | 6.2 | 2 | 68 | < 1.4 |  |  | 47.57.30N, 92.28.28W
Wolf Bay, near Vermilion dam |  |  | < 50 | < 2.0 | <0.100 | 9.8 | 7.03 | <0.0001 | < 0.50 | <0.0050 | <0.100 | 0.58 | 1.01 | 4.28 | 0.017 | 4.55 | < 5.0 | < 0.03 | 17 | <0.0005 | 8.9 | <0.0200 | 37 | 7.48 |  |  | 7.2 | 8 | 76 | 2 |  |  | 47.57.23N, 92.28.28W
Breitung monument culvert | 9.13.2022 | VLA |  |  |  | 327 | 860 |  |  | 0.4 | 4.52 | [9 empty] | 105 |  | 86.8 |  |  |  | 7.9 |  | 1820 |  |  |  | 47.48.49N, 92.14.26W
E2 River, Tower Harbor |  | water level 1357.31' |  |  |  | 32.1 | 19.9 |  |  | < 0.01 | 0.5 | [9 empty] | 1.8 |  | 105 |  |  |  | 7.7 |  | 164 |  |  |  | 47.48.14 N, 92.16.52W
E2 River, YBC dock | [5 empty] | 32 | 15.1 |  |  | < 0.01 | 0.43 | [9 empty] | 1.9 |  | 105 |  |  |  | 7.6 |  | 162 |  |  |  | 47.48.18N, 92.17.16W
E2 River, entrance to Pike Bay | [5 empty] | 19 | 12.9 |  |  | < 0.01 | 0.93 | [9 empty] | 9.2 |  | 86.8 |  |  |  | 7.5 |  | 166 |  |  |  | 47.48.47N, 92.17.69W
Pike River, below dam under Hwy 77 bridge | [10 empty] | 3.14 | [9 empty] | 17.1 |  | x |  |  |  | 7.5 | [5 empty] | 47.47.30N, 92.22.06W
Pike River, entrance to Pike Bay | [10 empty] | 2.5 | [9 empty] | 15.4 | [5 empty] | 7.5 | [5 empty] | 47.48.28 N, 92.17.42W
Stuntz Bay | [5 empty] | 12 | [20 empty] | x | [5 empty] | 47.49.77N, 92.14.35W
Cable Bay | [5 empty] | 12 | [20 empty] | x | [5 empty] | 47.50.72N, 97.12.01W
Breitung monument culvert | 5.8.2023 | VLA | 0.5 |  |  | 80.4 | 126 |  |  | 0.66 | 1.79 | [9 empty] | 70.7 | [5 empty] | 8.1 | [5 empty] | 47.48.49N, 92.14.26W
Junction Rd power substation culvert |  | water level 1359.04' |  |  |  | 48.4 | 35.2 |  |  |  | 0.17 | [9 empty] | 14.2 | [5 empty] | 7.9
E2 River, Tower Harbor | [5 empty] | 16.8 | 8.7 |  |  |  | 0.35 | [9 empty] | 2.8 | [5 empty] | 7.9 | [5 empty] | 47.48.14 N, 92.16.52W
E2 River, YBC dock |  |  | 0.08 |  |  | 16.6 | 5.2 |  |  |  | 0.32 | [9 empty] | 2.7 | [5 empty] | 7.7 | [5 empty] | 47.48.18N, 92.17.16W
W2 River, near Hwy 169 bridge | [5 empty] | 9 | 2 |  |  |  | 0.63 | [9 empty] | 1.8 | [5 empty] | 7.4 | [5 empty] | 47.47.30 N, 92.22.05W
Pike River, below dam under Hwy 77 bridge | [5 empty] | 8.2 | 8.4 |  |  |  | 0.77 | [9 empty] | 16.1 | [5 empty] | 7.5 | [5 empty] | 47.47.30N, 92.22.06W
Daisy Bay, sw, reading station | 6.18.2023 | water level 1357.86' | [30 empty] | 47.86.1770N, 92.423.050W
Daisy Bay, sw, reading station | 7.27.2023 | water level 1357.46' | [30 empty] | 47.86.1770N, 92.423.050W
E2 River, Tower Harbor | 7.31.2023 | VLA | [28 empty] | < 1.8 |  | 47.48.14 N, 92.16.52W
E2 River, YBC dock | [5 empty] | 33.2 | [24 empty] | < 1.8 |  | 47.48.18N, 92.17.16W
W2 River, near Hwy 169 bridge | [30 empty] | < 1.8 |  | 47.47.30 N, 92.22.05W
Pike River, below dam under Hwy 77 bridge | [20 empty] | 17.8 | [9 empty] | < 1.8 |  | 47.47.30N, 92.22.06W
Big Bay, nw Birch Is/se Potato Is | [30 empty] | < 1.8 |  | 47.52.0044N, 92.17.2649W
Big Bay, near Spider Island, WQ1 | 7.31.2023 | DNR |  |  |  | 11.5 | [7 empty] | 6.27 |  |  |  |  | 19 |  | 12.9 |  | 37 | 19.9 |  |  | 7.7 |  | 120 |  |  |  | 47.52.0044N, 92.17.2649W
Trout Lake portage, WQ2 | [5 empty] | 9.83 | [7 empty] | 5 |  |  |  |  | 21 |  | 9.64 |  | 32 | 14.2 |  |  | 8.21 |  | 80 |  |  |  | 47.54.3737N, 92.19.5235W
Frazer Bay, near 36 island, WQ3 | [5 empty] | 10.9 | [7 empty] | 5.61 |  |  |  |  | 17 |  | 11.6 |  | 35 | 17.6 |  |  | 7.91 |  | 84 |  |  |  | 47.52.4282N, 92.27.2309W
Niles Bay, near Zups point, WQ4 | [5 empty] | 9.63 | [7 empty] | 4.75 |  |  |  |  | 15 |  | 9.32 |  | 32 | 9.9 |  |  | 7.87 |  | 68 |  |  |  | 47.55.0162N, 92.30.0763W
Wakemup Bay, near Comet island, WQ5 | [5 empty] | 6.82 | [7 empty] | 3.04 |  |  |  |  | 16 |  | 4.54 |  | 25 | 4.9 |  |  | 7.66 |  | 45 |  |  |  | 47.55.2726N, 92.36.2038W
Daisy Bay, sw, reading station | 9.1.2023 | water level 1357.02' | [30 empty] | 47.86.1770N, 92.423.050W
Daisy Bay, sw, reading station | 11.8.2023 | water level 1357.08' |  | just befrore ice-in | [28 empty] | 47.86.1770N, 92.423.050W
Daisy Bay, sw, reading station | 4.15.2024 | water level 1357.98' |  | just after ice-out
Daisy Bay, sw, reading station | 6.23.2024 | water level 1359.71' RECORD HIGH
Daisy Bay, sw, reading station | 7.24.2024 | water level 1358.54'
Daisy Bay, sw, reading station | 11.25.2024 | water level 1356.99' |  | just befrore ice-in
Daisy Bay, sw, reading station | 5.8.2025 | water level 1356.99' | 1358.49' | just after ice-out
Daisy Bay, sw, reading station | 6.1.2025 | water level 1356.99' | 1358.00'
Daisy Bay, sw, reading station | 9.1.2025 | water level 1356.99' | 1357.44'
Daisy Bay, sw, reading station | 10.26.2025 | water level 1356.99' | 1357.154' | just befrore ice-in
Breitung monument culvert,draining Soudan mine | 7.24.2024 | VLA | 386 |  |  | 40.1 | 10.5 |  | 15.9 | 0.63 | 0.96 |  |  | 17.9 | 0.23 | 9.2 | 0.05 | 0.9 | 8 |  | 101 |  | 84.9 | x |  |  | 7.6 | x | x | x |  | 48.4° | 47.48.50N 92.14.26W
Junction Rd power substation culvert |  |  | < 50.0 |  |  | 63.8 | 54.9 |  | < 1.0 | < 0.01 | 1.48 |  |  | 10.5 | 0.78 | 23.5 | < 0.05 | < 0.03 | 406 |  | 13 |  | 162 | x |  |  | 7.3 | x | x | x |  | 63.5° | 47.48.19N 92.15.27W
E2 River, Tower Harbor |  |  | < 0.05 |  |  | 25.8 | 5.2 |  | < 0.01 | < 0.01 | 0.71 |  |  | 2.9 | 0.15 | 3.2 | < 0.05 | < 0.03 | 36 |  | 1.1 |  | 78 | x |  |  | 6.7 | 6 | 197 | 2.2 |  | 68.0° | 47.80.381N 92.28.124W
E2 River, YBC dock |  |  | < 0.05 |  |  | 26.5 | 5.5 |  | < 0.01 | < 0.01 | 0.3 |  |  | 2.9 | 0.17 | 3.3 | < 0.05 | < 0.03 | 35 |  | 1.2 |  | 84 | 11.1 |  |  | 6.7 | 5 | 180 | 2.5 |  | 69.3° | 47.80.530N 92.28.850W
E2 River, entrance to Pike Bay |  |  | 0.07 |  |  | 22.3 | 6.4 |  | < 0.01 | < 0.01 | 1.5 |  |  | 4.9 | 0.31 | 4.3 | < 0.05 | 0.05 | 43 |  | 4.2 |  | 72 | 3.1 |  |  | 6.7 | x | x | x |  | 70.5° | 47.80.753N 92.29.490W
W2 River, near Hwy 169 bridge |  |  | 96.5 |  |  | 17.2 | 4.3 |  | < 0.01 | < 0.01 | 2.99 |  |  | 1.9 | 0.32 | 2.4 | < 0.05 | < 0.03 | 45 |  | 1.5 |  | 54 | 2.3 |  |  | 7 | x | x | x |  | 65.1° | 47.47.50N 92.18.13W
Pike River, below dam under Hwy 77 bridge |  |  | 404 |  |  | 18 | 11.4 |  | < 0.01 | < 0.01 | 8.42 |  |  | 13.6 | 0.92 | 8.3 | < 0.05 | 0.15 | 70 |  | 7.7 |  | 84 | x |  |  | 7.3 | x | x | x |  | 73.2° | 47.47.30N 92.22.06W
Stuntz Bay, NW of boat launch |  |  | < 50.0 |  |  | 12.5 | 8.9 |  | < 0.01 | < 0.01 | 0.24 |  |  | 5.7 | 0.06 | 5.4 | < 0.05 | < 0.03 | 25 |  | 11.7 |  | 51 | x |  |  | 7.9 | 4 | 97 | 3.1 |  | 74.0° | 47.49.496N 92.14.322W
Cable Bay, NE state park boat launch |  |  | < 50.0 |  |  | 12.7 | 9.3 |  | < 0.01 | < 0.01 | 0.13 |  |  | 5.8 | 0.06 | 5.5 | < 0.05 | < 0.03 | 24 |  | 12.4 |  | 42 | 9.8 |  |  | 7.3 | 4.5 | 137 | 2.9 |  | 74.3° | 47.50.45N 92.12.10W
Armstrong Bay, NE park fishing pier |  |  | < 50.0 |  |  | 13 | 9.4 |  | < 0.01 | < 0.01 | 0.16 |  |  | 5.6 | 0.1 | 5.4 | < 0.05 | < 0.03 | 28 |  | 12 |  | 48 | 10.1 |  |  | 7.2 | 5 | 93 | 3.1 |  | 72.3° | 47.51.01N 92.10.44W
Mud Creek Bay, SE Timber Island |  |  | < 50.0 |  |  | 12.7 | 9.3 |  | < 0.01 | < 0.01 | 0.08 |  |  | 5.8 | 0.03 | 5.5 | < 0.05 | < 0.03 | 24 |  | 12.4 |  | 54 | 10.7 |  |  | 7.6 | 4.5 | 90 | 2.5 |  | 74.0° | 47.52.19N 92.11.10W
Rice Bay, east of SNF campsite |  |  | < 50.0 |  |  | 17.4 | 2.6 |  | < 0.01 | < 0.01 | 0.53 |  |  | 2.1 | 0.1 | 1.6 | < 0.05 | < 0.03 | 24 |  | 1.8 |  | 48 | 7.5 |  |  | 7.2 | 2.5 | 83 | 2.1 |  | 73.0° | 47.53.342N 92.13.423W
Big Bay, near Spider Island hole |  |  | < 50.0 |  |  | 12.3 | 9.2 |  | < 0.01 | < 0.01 | 0.09 |  |  | 5.8 | 0.03 | 5.5 | < 0.05 | < 0.03 | 31 |  | 12.6 |  | 24 | 7.8 |  |  | 7.8 | 7 | 80 | 2.2 |  | 77.4° | 47.52.01N, 92.17.20W
Trout Lake walking portage/Rice Creek |  |  | < 50.0 |  |  | 7.5 | 3.7 |  | < 0.01 | < 0.01 | 0.05 |  |  | 3.1 | 0.01 | 2.8 | < 0.05 | < 0.03 | 17 |  | 5.7 |  | 48 | 8.7 |  |  | 7.2 | 8 | 60 | 1.9 |  | 74.5° | 47.54.51N 92.19.37W
Frazer Bay, south of Gold Island |  |  | < 50.0 |  |  | 10.9 | 3.7 |  | < 0.01 | < 0.01 | < 0.05 |  |  | 5.2 | 0.01 | 4.8 | < 0.05 | < 0.03 | 22 |  | 5.6 |  | 42 | 9.3 |  |  | 7.3 | 8.5 | 87 | 1.9 |  | 73.9° | 47.52.57N, 92.27.03W
Niles Bay, mid bay |  |  | < 50.0 |  |  | 9.9 | 7.3 |  | < 0.01 | < 0.01 | < 0.05 |  |  | 4.5 | 0.02 | 4.4 | < 0.05 | < 0.03 | 21 |  | 9 |  | 33 | 12.5 |  |  | 7.5 | 7 | 83 | 2.4 |  | 72.0° | 47.54.137N 92.31.147W
Wakemup Bay, NW of Center Island |  |  | < 50.0 |  |  | 7.2 | 5.3 |  | < 0.01 | < 0.01 | < 0.05 |  |  | 2.7 | 0.01 | 3.3 | < 0.05 | < 0.03 | 18 |  | 4.4 |  | 30 | 18.7 |  |  | 8.9 | 6 | 43 | 3 |  | 74.1° | 47.54.02N 92.36.01W
Norwegian Bay, SW Life of Riley Res. |  |  | < 50.0 |  |  | 7.3 | 5.2 |  | < 0.01 | < 0.01 | < 0.05 |  |  | 3.7 | 0.02 | 3.3 | < 0.05 | < 0.03 | 22 |  | 4.4 |  | 15 | 19.6 |  |  | 8.5 | 6 | 40 | 3.3 |  | 74.1° | 47.57.20N 92.32.36W
Black Bay, mid bay |  |  | 282 |  |  | 4 | 2.2 |  | < 0.01 | < 0.01 | 1.77 |  |  | 1.3 | 0.11 | 1.7 | < 0.05 | < 0.03 | 38 |  | 0.6 |  | 42 | 4.8 |  |  | 5.9 | 1 | 63 | 2.1 |  | 73.4° | 47.57.362N 92.33.16W
Wolf Bay, near Vermilion dam |  |  | < 50.0 |  |  | 10.6 | 7.6 |  | < 0.01 | < 0.01 | < 0.05 |  |  | 4.9 | 0.03 | 4.7 | < 0.05 | < 0.03 | 23 |  | 9.7 |  |  | 13.4 |  |  | 7.4 | 7 | 87 | 2.2 |  | 73.0° | 47.57.01N 92.28.17W
Breitung monument culvert,draining Soudan mine | 10.27.2024 | VLA | 466 |  |  | 280 |  |  | 19.6 | [5 empty] | 0.46 | [5 empty] | 119 | [10 empty] | 47.8° | 47.48.50N 92.14.26W
Junction Rd power substation culvert |  |  | < 50.0 |  |  | 66.1 |  |  |  |  | 0.25 |  |  |  | 0.09 |  |  |  | 216 |  | 18.7 | [10 empty] | 44.2° | 47.48.19N 92.15.27W
E2 River, YBC dock |  |  | < 50.0 |  |  | 39.8 |  |  |  |  | 0.41 |  |  |  | 0.19 |  |  |  | 20 |  | 6.7 | [10 empty] | 46.8° | 47.80.530N 92.28.850W
Pike River, below dam under Hwy 77 bridge |  |  | 97.7 |  |  | 18.3 |  |  |  |  | 1.13 |  |  |  | 0.16 |  |  |  | 37 |  | 19.4 | [10 empty] | 50.4° | 47.47.30N 92.22.06W
Breitung monument culvert,draining Soudan mine | 5.14.2025 | VLA | 133 |  |  | 11.1 |  |  | <0.50 |  | 0.86 |  |  |  | 0.92 |  |  |  | <20 |  | 28.1 | [5 empty] | 7.6 |  |  |  |  | 50.9° | 47.48.50N 92.14.26W
E2 River, YBC dock |  |  | <30 |  |  | 19.4 |  |  | <0.50 |  | 0.28 |  |  |  | 0.08 |  |  |  | <20 |  | 3.2 | [5 empty] | 7.3 |  |  |  |  | 71.4° | 47.80.530N 92.28.850W
Pike River, below dam under Hwy 77 bridge |  |  | 288 |  |  | 148 |  |  | 8 |  | 0.28 |  |  |  | 0.23 |  |  |  | <20 |  | 85.8 | [5 empty] | 7.8 |  |  |  |  | 69.6° | 47.47.30N 92.22.06W
E2 River, YBC dock | 9.1.2025 | VLA | 21.8 |  |  | 31.3 |  |  | <1.00 |  | 0.32 |  |  |  | 0.12 | [5 empty] | 2.5 | [5 empty] | 7.6 |  |  |  |  | 74.4° | 47.80.530N 92.28.850W
Pike River, below dam under Hwy 77 bridge |  |  | 82.9 |  |  | 20.7 |  |  | 2.03 |  | 7.72 |  |  |  | 1.9 | [5 empty] | 28.7 | [5 empty] | 7.7 |  |  |  |  | 72.5° | 47.47.30N 92.22.06W
Big Bay, near Spider Island hole | 9.6.2025 | VLA | 10.8 |  |  | 13.7 |  |  |  |  | 0.07 |  |  | 7.1 | 0.02 |  |  |  | 40 |  | 13.7 |  | 48 |  |  |  | 8 | 6 | 107 |  |  | 66.0°
Pike River, below dam under Hwy 77 bridge | 1.14.2026 | VLA | <0.10 |  |  | 22.6 |  |  | <0.01 |  | 2.06 |  |  |  | 0.26 |  |  |  | 25 |  | 54.3 | [5 empty] | 6.7 |  |  |  |  | 35.6° | 47.47.30N 92.22.06W
METAL/ANION → |  |  | Al | As* | B | Ca | Chloride | Cd* | Co | Cu* | Fe | Hg* | K | Mg | Mn | Na | Ni* | Nitrates | P (TP) | Pb* | Sulphate | Zn* | Alkalinity | Chl-a | Coliform | DO | pH | Secchi | TDS | TSS | PFOS | Temp | GPS Location
|  |  | ug/L | ug/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | ng/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | µg/L | cfu | mg/L | pH | feet | mg/L | mg/L | ng/L | °F | DMS
Ideal |  |  | <200 | <340 | < 0.5 | < 15 | <120 | < 0.72 | <1.8 | < 1.3 | < 1.0 | < 144 | < 164 | < 1,000 | <0.30 | < 250 | < 52 | < 10 | < 30.5 | <0.065 | <500 gen | < 0.12 | > 5 | < 20 | 0 | > 5.5 | 6.5 - 8.5 | varies | < 500 | < 1,200 | ≤ 4
|  |  |  | <10 drink |  |  |  |  | drink | [7 empty] | continous | drink |  | <0.015 drink | < 250 drink |  | (20-200 typical) | >10 bloom | drink | fish |  |  |  | drink | drink
3.13.2026 | [20 empty] | < 10 rice
x